| PROPANE SUPPLEMENTAL QUESTIONNAIRE |
| --- |
| Account Name: | Effective date: |
| Propane gallons sold: retail: | Wholesale: |
| Propane gallons transported: | Number of propane vehicles: |
| Is there bulk propane storage? YES NO |
| If yes, complete the following for each bulk storage location: |
| Location of bulk storage: |
| Number of tanks: |
| Tank | Age | Capacity | Tank | Age | Capacity |
| 1 |  |  | 4 |  |  |
| 2 |  |  | 5 |  |  |
| 3 |  |  | 6 |  |  |
| YES | NO |  |
|  |  | Does the bulk storage area at owned, rented or occupied location have either of the following: An industrial-type or chain link fence (at least 6 feet high) with lockable gate protecting its perimeter; or Devices, which can be locked in place and that effectively prevent unauthorized operation of valves, equipment, and appurtenances in the bulk storage area; [NFPA 58 6.16.5.2 (E) & 6.16.5.3] |
|  |  | Are all individual LPG containers, or the systems of which they are a part, protected from vehicle impacts by pillars, mounding, etc. [NFPA 58 6.6.1.2 & 6.6.6.2(6)]? |
|  |  | Does the insured use NFPA 58 as compliance guidelines? |
|  |  | Is the insured in compliance with the NFPA 58 guidelines? |
|  |  | Is the insured aware of any instances where they are not in compliance with NFPA 58 guidelines? |
| If yes, describe: |
|  |  | Does the bulk storage area also have a retail store? |
| If yes, describe: |
|  |  | Do operations include the filling of portable propane or butane tanks? |
|  |  | Is the portable tank filling area segregated from the bulk storage area? |
|  |  | Does the insured train its employees on how to safely fill portable cylinders and perform other operations at the bulk storage area? [NFPA 58 4.4 & 7.2.2.1] |
|  |  | Are retail customers allowed to refill their own cylinders? [NPFA 58 4.4] |
|  |  | Are the workers instructed not to refill any cylinder that lacks an overfill protection device (OPDs)? ) [NFPA 58 5.7.6] |
|  |  | If there is a retail area, is it segregated from the bulk storage area? |
|  |  | Does it have a separate entrance? |
|  |  | Is there a written, regularly scheduled, storage tank inspection and maintenance program? |

| YES | NO |  |
| --- | --- | --- |
|  |  | Is there a written, regularly scheduled, piping, valve and hose inspection and maintenance program? |
| Who performs the tank inspections? |
|  |  | Does the insured have a written emergency response plan [NFPA 58 14.1 & 14.2]? |
|  |  | Has the insured trained its employees in emergency response, including emergency shut down procedures [NFPA 58 4.4 & 7.2.2.1]? |
|  |  | Has this emergency response training been done with the local fire and police departments? |
|  |  | Are there security guards to monitor the bulk plant during off hours? |
|  |  | Are all workers and customers required to show ID before entering the bulk storage area? |
|  |  | Do all bulk storage area at any owned, rented or occupied Location have "No Trespassing" signs posted? |
|  |  | Are any of the insured’s bulk storage tanks located in a flood plain (i.e. in Flood Zones A, B, V or Shaded X)? |
| What is the General Condition of the Tank | Excellent | Good | Poor |
| What are distances to adjacent exposures in all directions? |
| What are the adjacent exposures? Describe size, construction and occupancy: |
| What other security measures are used;-cameras, etc.? |
| Additional information / Notes: |
| Name of person completing this questionnaire Title: Date: Signature: |